## Sheet1
Sample-Id | Sampling year | Month | Location | Site | Replicate | pH | Cond (µs) | TDS (ppm) | Salt (ppm) | Do (mgL) | Turbidity (NTU) | Temp (°C) | Nitrate (NO₃⁻) (mgL) | Nitrate (NO₃⁻-N) (mgL) | Nitrite (NO₂⁻) (mgL) | Nitrite (NO₂⁻-N) (mgL) | Nitrite (NaNo₂) (mgL) | COD (mgL) | Orthophosphate (PO₄³⁻) (mgL) | Sulphate (SO₄⁻²) (mgL)
HJVV_S13.1 | 2022 | July | Welverdiend | 1. IN | 1 | 7.8 | 1026 | 726 | 499 | 2.7 | 225 | 17.3 | 9.8 | 2.2 | 34 | 10 | 50 | 488 | 39.9 | 22
HJVV_S13.2 | 2022 | July | Welverdiend | 1. IN | 2 | 7.78 | 1024 | 725 | 502 | 2.8 | 249 | 17.3 | 9 | 2 | 26 | 8 | 39 | 501 | 41.2 | 10
HJVV_S13.3 | 2022 | July | Welverdiend | 1. IN | 3 | 7.81 | 1025 | 727 | 500 | 2.7 | 232 | 17.4 | 2 | 0.5 | 28 | 8 | 42 | 496 | 43.2 | 43
HJVV_S14.1 | 2022 | July | Welverdiend | 2. EF | 1 | 5.98 | 912 | 650 | 447 | 8 | 6.36 | 17.8 | 133 | 30 | 0.43 | 0.13 | 0.64 | 143 | 14.8 | 70
HJVV_S14.2 | 2022 | July | Welverdiend | 2. EF | 2 | 6.01 | 914 | 652 | 444 | 8.1 | 9.45 | 17.7 | 112 | 25.2 | 0.51 | 0.16 | 0.77 | 159 | 14 | 65
HJVV_S14.3 | 2022 | July | Welverdiend | 2. EF | 3 | 5.99 | 911 | 649 | 449 | 8.1 | 7.13 | 17.8 | 89 | 20 | 0.56 | 0.168 | 0.84 | 145 | 14.4 | 68
HJVV_S15.1 | 2022 | July | Welverdiend | 3. UP | 1 | 8.96 | 967 | 688 | 470 | 12.4 | 24.2 | 15.4 | 4.2 | 1 | 0.15 | 0.046 | 0.23 | 11 | 1.265 | 77
HJVV_S15.2 | 2022 | July | Welverdiend | 3. UP | 2 | 8.91 | 966 | 683 | 468 | 12.3 | 21.3 | 15.5 | 4.4 | 1 | 0.17 | 0.051 | 0.255 | 14 | 1.285 | 81
HJVV_S15.3 | 2022 | July | Welverdiend | 3. UP | 3 | 8.99 | 962 | 682 | 471 | 12.3 | 22.6 | 15.5 | 4 | 1 | 0.11 | 0.033 | 0.165 | 10 | 1.298 | 85
HJVV_S16.1 | 2022 | July | Welverdiend | 4. DO | 1 | 7.84 | 1214 | 866 | 598 | 8.6 | 3.12 | 14.9 | 7.7 | 1.7 | 0.013 | 0.004 | 0.02 | 15 | 0.486 | 123
HJVV_S16.2 | 2022 | July | Welverdiend | 4. DO | 2 | 7.87 | 1211 | 859 | 596 | 8.4 | 2.78 | 14.9 | 7.2 | 1.6 | 0.019 | 0.006 | 0.029 | 13 | 0.503 | 128
HJVV_S16.3 | 2022 | July | Welverdiend | 4. DO | 3 | 7.81 | 1215 | 862 | 599 | 8.5 | 2.78 | 15 | 7.5 | 1.7 | 0.015 | 0.005 | 0.023 | 17 | 0.477 | 119
HJVV_S33.1 | 2022 | August | Welverdiend | 1. IN | 1 | 7.16 | 717 | 509 | 343 | 4.3 | 174 | 14.8 | 3.8 | 0.9 | 14 | 4 | 21 | 341 | 28.7 | 26
HJVV_S33.2 | 2022 | August | Welverdiend | 1. IN | 2 | 7.17 | 719 | 510 | 344 | 4 | 178 | 14.8 | 5.5 | 1.2 | 13 | 4 | 20 | 358 | 31.4 | 28
HJVV_S33.3 | 2022 | August | Welverdiend | 1. IN | 3 | 7.14 | 718 | 508 | 341 | 4.1 | 153 | 14.9 | 5.4 | 1.2 | 12 | 4 | 17 | 360 | 31 | 31
HJVV_S34.1 | 2022 | August | Welverdiend | 2. EF | 1 | 7.13 | 890 | 630 | 433 | 5.3 | 55 | 15 | 32.7 | 7.4 | 3 | 1 | 5 | 71 | 23 | 52
HJVV_S34.2 | 2022 | August | Welverdiend | 2. EF | 2 | 7.19 | 894 | 628 | 427 | 4.8 | 51 | 15 | 33.9 | 7.7 | 3 | 1 | 4 | 101 | 23.9 | 57
HJVV_S34.3 | 2022 | August | Welverdiend | 2. EF | 3 | 7.2 | 893 | 632 | 429 | 5 | 42 | 15.1 | 35.3 | 8 | 2 | 1 | 3 | 114 | 24.8 | 61
HJVV_S35.1 | 2022 | August | Welverdiend | 3. UP | 1 | 8.82 | 941 | 663 | 452 | 12.8 | 37 | 13.6 | 4.9 | 1.1 | 0.001 | 0 | 0.002 | 31 | 1.158 | 94
HJVV_S35.2 | 2022 | August | Welverdiend | 3. UP | 2 | 8.79 | 937 | 665 | 450 | 12.7 | 47 | 13.6 | 3.8 | 0.9 | 0.003 | 0.001 | 0.004 | 26 | 1.174 | 95
HJVV_S35.3 | 2022 | August | Welverdiend | 3. UP | 3 | 8.85 | 940 | 651 | 453 | 12.7 | 32 | 13.7 | 4.2 | 1 | 0.001 | 0.001 | 0 | 25 | 0.977 | 98
HJVV_S36.1 | 2022 | August | Welverdiend | 4. DO | 1 | 7.9 | 1018 | 724 | 498 | 7.1 | 3 | 14.1 | 5.7 | 1.3 | 0 | 0.013 | 0.063 | 16 | 0.897 | 99
HJVV_S36.2 | 2022 | August | Welverdiend | 4. DO | 2 | 7.92 | 1013 | 722 | 496 | 7.1 | 3 | 14.2 | 4.9 | 1.1 | 0.001 | 0.014 | 0.068 | 19 | 0.86 | 102
HJVV_S36.3 | 2022 | August | Welverdiend | 4. DO | 3 | 7.88 | 1015 | 725 | 493 | 7 | 2 | 14.2 | 5.1 | 1.1 | 0.001 | 0.012 | 0.057 | 22 | 0.976 | 102
HJVV_S53.1 | 2022 | September | Welverdiend | 1. IN | 1 | 6.94 | 1159 | 882 | 570 | 1.8 | 491 | 20.7 | 5.8 | 1.3 | 0.69 | 0.2 | 1.02 | 1397 | 28.6 | 4
HJVV_S53.2 | 2022 | September | Welverdiend | 1. IN | 2 | 6.98 | 1148 | 815 | 564 | 2.01 | 469 | 20.8 | 5.4 | 1.2 | 0.74 | 0.22 | 1.1 | 1261 | 28 | 5
HJVV_S53.3 | 2022 | September | Welverdiend | 1. IN | 3 | 6.95 | 1156 | 817 | 566 | 1.87 | 478 | 20.7 | 6.1 | 1.4 | 0.64 | 0.18 | 0.94 | 1311 | 27.3 | 5
HJVV_S54.1 | 2022 | September | Welverdiend | 2. EF | 1 | 7.14 | 790 | 559 | 383 | 6.8 | 6.04 | 21.4 | 61.9 | 14 | 0.84 | 0.26 | 1.26 | 208 | 3.6 | 59
HJVV_S54.2 | 2022 | September | Welverdiend | 2. EF | 2 | 7.15 | 785 | 552 | 382 | 6.5 | 5.68 | 21.5 | 72 | 16.3 | 0.79 | 0.24 | 1.18 | 236 | 3.8 | 62
HJVV_S54.3 | 2022 | September | Welverdiend | 2. EF | 3 | 7.14 | 784 | 557 | 383 | 6.6 | 5.94 | 21.5 | 65.1 | 14.7 | 0.84 | 0.26 | 1.26 | 211 | 4.1 | 65
HJVV_S55.1 | 2022 | September | Welverdiend | 3. UP | 1 | 8.3 | 963 | 683 | 471 | 9.1 | 24.4 | 22.4 | 4.7 | 1.1 | 0.023 | 0.007 | 0.034 | 62 | 3.191 | 73
HJVV_S55.2 | 2022 | September | Welverdiend | 3. UP | 2 | 8.26 | 958 | 679 | 469 | 8.5 | 23.7 | 22.6 | 7.7 | 1.7 | 0.013 | 0.004 | 0.02 | 58 | 2.873 | 81
HJVV_S55.3 | 2022 | September | Welverdiend | 3. UP | 3 | 8.27 | 956 | 681 | 473 | 8.9 | 25.1 | 22.7 | 5.7 | 1.3 | 0.008 | 0.002 | 0.012 | 65 | 2.828 | 79
HJVV_S56.1 | 2022 | September | Welverdiend | 4. DO | 1 | 7.67 | 1061 | 754 | 523 | 5.9 | 0.87 | 20.6 | 7.1 | 1.6 | 0.028 | 0.009 | 0.042 | 91 | 1.824 | 86
HJVV_S56.2 | 2022 | September | Welverdiend | 4. DO | 2 | 7.7 | 1067 | 756 | 521 | 6.01 | 0.92 | 20.8 | 5.3 | 1.2 | 0.029 | 0.009 | 0.043 | 78 | 1.996 | 88
HJVV_S56.3 | 2022 | September | Welverdiend | 4. DO | 3 | 7.71 | 1064 | 752 | 522 | 6.02 | 1.12 | 20.9 | 7.5 | 1.7 | 0.026 | 0.008 | 0.039 | 83 | 1.766 | 91
HJVV_S73.1 | 2022 | October | Welverdiend | 1. IN | 1 | 7.15 | 681 | 486 | 333 | 3 | 122 | 21.4 | 5.6 | 1.2 | 0.1 | 0.03 | 0.15 | 320 | 10.7 | 34
HJVV_S73.2 | 2022 | October | Welverdiend | 1. IN | 2 | 7.14 | 687 | 488 | 335 | 2.8 | 135 | 21.6 | 5.2 | 1.2 | 0.18 | 0.05 | 0.27 | 345 | 12.8 | 42
HJVV_S73.3 | 2022 | October | Welverdiend | 1. IN | 3 | 7.16 | 683 | 487 | 335 | 2.8 | 132 | 21.7 | 5.7 | 1.3 | 0.16 | 0.05 | 0.24 | 351 | 12.2 | 54
HJVV_S74.1 | 2022 | October | Welverdiend | 2. EF | 1 | 7.13 | 637 | 451 | 312 | 7.4 | 5.37 | 22.4 | 35 | 7.8 | 0.52 | 0.16 | 0.78 | 55 | 4.1 | 63
HJVV_S74.2 | 2022 | October | Welverdiend | 2. EF | 2 | 7.06 | 643 | 453 | 313 | 7.3 | 3.64 | 22.5 | 31 | 7 | 0.48 | 0.14 | 0.72 | 71 | 4.5 | 55
HJVV_S74.3 | 2022 | October | Welverdiend | 2. EF | 3 | 7.04 | 639 | 456 | 311 | 7.4 | 3.5 | 22.4 | 32 | 7.2 | 0.64 | 0.19 | 0.96 | 68 | 3.9 | 59
HJVV_S75.1 | 2022 | October | Welverdiend | 3. UP | 1 | 8.14 | 868 | 619 | 425 | 7.9 | 13 | 22.3 | 4 | 0.9 | 0.102 | 0.031 | 0.153 | 93 | 2.005 | 93
HJVV_S75.2 | 2022 | October | Welverdiend | 3. UP | 2 | 8.15 | 867 | 617 | 424 | 7.8 | 13.9 | 22.4 | 3.5 | 0.8 | 0.06 | 0.018 | 0.089 | 88 | 2.064 | 90
HJVV_S75.3 | 2022 | October | Welverdiend | 3. UP | 3 | 8.13 | 871 | 616 | 426 | 7.9 | 12.7 | 22.5 | 3.1 | 0.7 | 0.08 | 0.024 | 0.12 | 79 | 1.994 | 84
HJVV_S76.1 | 2022 | October | Welverdiend | 4. DO | 1 | 7.83 | 994 | 710 | 485 | 5.4 | 0.45 | 21.4 | 4.8 | 1 | 0.031 | 0.01 | 0.047 | 39 | 1.411 | 106
HJVV_S76.2 | 2022 | October | Welverdiend | 4. DO | 2 | 7.84 | 992 | 702 | 489 | 5.6 | 0.34 | 21.5 | 4.4 | 1 | 0.056 | 0.02 | 0.084 | 45 | 1.387 | 101
HJVV_S76.3 | 2022 | October | Welverdiend | 4. DO | 3 | 7.82 | 995 | 703 | 486 | 5.5 | 0.54 | 21.3 | 4.6 | 1 | 0.051 | 0.02 | 0.077 | 47 | 1.486 | 112
HJVV_S97.1 | 2022 | November | Welverdiend | 1. IN | 1 | 7.32 | 855 | 611 | 420 | 3.2 | 153 | 23.9 | 3.3 | 0.8 | 0.01 | 0.003 | 0.01 | 347 | 14.9 | 15
HJVV_S97.2 | 2022 | November | Welverdiend | 1. IN | 2 | 7.3 | 861 | 608 | 422 | 3.1 | 151 | 23.8 | 2.7 | 0.6 | 0.02 | 0.001 | 0.02 | 306 | 15.7 | 19
HJVV_S97.3 | 2022 | November | Welverdiend | 1. IN | 3 | 7.29 | 869 | 606 | 423 | 3.2 | 152 | 23.8 | 3.8 | 0.9 | 0.04 | 0.012 | 0.06 | 318 | 13.2 | 17
HJVV_S98.1 | 2022 | November | Welverdiend | 2. EF | 1 | 6.86 | 607 | 431 | 295 | 6.9 | 6.77 | 23.7 | 131.2 | 29.6 | 0.38 | 0.12 | 0.57 | 14 | 19 | 53
HJVV_S98.2 | 2022 | November | Welverdiend | 2. EF | 2 | 6.89 | 606 | 428 | 290 | 7 | 8.24 | 23.6 | 128.7 | 29.1 | 0.32 | 0.1 | 0.47 | 11 | 18.8 | 50
HJVV_S98.3 | 2022 | November | Welverdiend | 2. EF | 3 | 6.87 | 608 | 427 | 297 | 7 | 7.61 | 23.7 | 128.9 | 29.1 | 0.35 | 0.11 | 0.53 | 17 | 19.1 | 58
HJVV_S99.1 | 2022 | November | Welverdiend | 3. UP | 1 | 8.2 | 826 | 588 | 404 | 9.1 | 19.4 | 25.6 | 2.3 | 0.5 | 0.075 | 0.023 | 0.113 | 28 | 1.518 | 83
HJVV_S99.2 | 2022 | November | Welverdiend | 3. UP | 2 | 8.1 | 824 | 586 | 406 | 9.2 | 16.9 | 25.4 | 3.8 | 0.9 | 0.069 | 0.021 | 0.103 | 35 | 1.477 | 77
HJVV_S99.3 | 2022 | November | Welverdiend | 3. UP | 3 | 8.1 | 825 | 587 | 405 | 9.2 | 17.5 | 25.5 | 2.5 | 0.6 | 0.081 | 0.024 | 0.122 | 39 | 1.503 | 75
HJVV_S100.1 | 2022 | November | Welverdiend | 4. DO | 1 | 7.75 | 1090 | 776 | 536 | 6.2 | 1.13 | 23.1 | 3.6 | 0.8 | 0.036 | 0.011 | 0.054 | 29 | 0.926 | 100
HJVV_S100.2 | 2022 | November | Welverdiend | 4. DO | 2 | 7.77 | 1086 | 771 | 534 | 6 | 1.6 | 23 | 3.9 | 0.9 | 0.027 | 0.008 | 0.04 | 17 | 0.942 | 96
HJVV_S100.3 | 2022 | November | Welverdiend | 4. DO | 3 | 7.78 | 1094 | 773 | 538 | 6.1 | 1.68 | 23 | 5.1 | 1.2 | 0.044 | 0.013 | 0.066 | 20 | 0.918 | 94
HJVV_S113.1 | 2022 | December | Welverdiend | 1. IN | 1 | 7.51 | 1166 | 828 | 573 | 7.5 | 16.2 | 20.6 | 3.8 | 0.9 | 0.29 | 0.09 | 0.44 | 39 | 4.9 | 59
HJVV_S113.2 | 2022 | December | Welverdiend | 1. IN | 2 | 7.48 | 1162 | 821 | 571 | 7.4 | 16.7 | 20.8 | 4 | 0.9 | 0.34 | 0.1 | 0.51 | 75 | 3.2 | 63
HJVV_S113.3 | 2022 | December | Welverdiend | 1. IN | 3 | 7.45 | 1163 | 825 | 570 | 7.5 | 18 | 20.8 | 3.4 | 0.8 | 0.31 | 0.09 | 0.47 | 59 | 3.9 | 58
HJVV_S114.1 | 2022 | December | Welverdiend | 2. EF | 1 | 7.45 | 952 | 676 | 467 | 8.2 | 84.1 | 21.2 | 1.7 | 0.4 | 0.16 | 0.05 | 0.24 | 1872 | 19 | 68
HJVV_S114.2 | 2022 | December | Welverdiend | 2. EF | 2 | 7.43 | 949 | 675 | 468 | 8.1 | 82.4 | 21 | 2.3 | 0.5 | 0.11 | 0.03 | 0.17 | 1839 | 19.2 | 62
HJVV_S114.3 | 2022 | December | Welverdiend | 2. EF | 3 | 7.48 | 951 | 674 | 465 | 8.2 | 84.1 | 21.1 | 2.1 | 0.5 | 0.14 | 0.04 | 0.21 | 1658 | 18.9 | 63
HJVV_S115.1 | 2022 | December | Welverdiend | 3. UP | 1 | 7.87 | 618 | 440 | 298 | 7.3 | 8.63 | 23.5 | 1.3 | 0.3 | 0.073 | 0.022 | 0.11 | 18 | 1.521 | 66
HJVV_S115.2 | 2022 | December | Welverdiend | 3. UP | 2 | 7.83 | 520 | 439 | 299 | 7.4 | 8.31 | 23.6 | 2.5 | 0.6 | 0.061 | 0.018 | 0.09 | 61 | 1.876 | 61
HJVV_S115.3 | 2022 | December | Welverdiend | 3. UP | 3 | 7.84 | 619 | 436 | 296 | 7.3 | 8.54 | 23.4 | 2.2 | 0.5 | 0.084 | 0.025 | 0.13 | 66 | 1.789 | 64
HJVV_S116.1 | 2022 | December | Welverdiend | 4. DO | 1 | 7.78 | 1115 | 788 | 550 | 7.1 | 3.31 | 23.1 | 3.5 | 0.8 | 0.106 | 0.032 | 0.159 | 44 | 0.529 | 70
HJVV_S116.2 | 2022 | December | Welverdiend | 4. DO | 2 | 7.75 | 1120 | 791 | 548 | 7 | 3.35 | 23.1 | 2.8 | 0.6 | 0.098 | 0.029 | 0.147 | 63 | 0.855 | 68
HJVV_S116.3 | 2022 | December | Welverdiend | 4. DO | 3 | 7.76 | 1117 | 790 | 552 | 7 | 3.44 | 23 | 2.1 | 0.5 | 0.114 | 0.034 | 0.171 | 17 | 0.654 | 69
HJVV_S133.1 | 2023 | January | Welverdiend | 1. IN | 1 | 7.5 | 1128 | 801 | 558 | 4.8 | 389 | 22.9 | 7.9 | 1.8 | 0.11 | 0.03 | 0.17 | 821 | 58.4 | 18
HJVV_S133.2 | 2023 | January | Welverdiend | 1. IN | 2 | 7.52 | 1129 | 799 | 557 | 4.9 | 378 | 23 | 3.4 | 0.8 | 0.09 | 0.027 | 0.14 | 788 | 63 | 19
HJVV_S133.3 | 2023 | January | Welverdiend | 1. IN | 3 | 7.51 | 1127 | 798 | 560 | 4.9 | 373 | 23.1 | 6.6 | 1.5 | 0.13 | 0.039 | 0.2 | 834 | 56.8 | 16
HJVV_S134.1 | 2023 | January | Welverdiend | 2. EF | 1 | 7.3 | 1127 | 799 | 558 | 4.8 | 67.2 | 24.3 | 4.3 | 1 | 0.51 | 0.15 | 0.76 | 325 | 35.7 | 1
HJVV_S134.2 | 2023 | January | Welverdiend | 2. EF | 2 | 7.28 | 1126 | 800 | 556 | 5 | 68.2 | 24.3 | 6.1 | 1.4 | 0.42 | 0.126 | 0.63 | 332 | 34.2 | 0
HJVV_S134.3 | 2023 | January | Welverdiend | 2. EF | 3 | 7.27 | 1114 | 801 | 589 | 5 | 70.1 | 24.4 | 2.1 | 0.5 | 0.49 | 0.147 | 0.74 | 323 | 36.8 | 1
HJVV_S135.1 | 2023 | January | Welverdiend | 3. UP | 1 | 8.88 | 815 | 580 | 399 | 8.2 | 11.3 | 24 | 5.9 | 1.3 |  |  |  | 35 | 0.988 | 86
HJVV_S135.2 | 2023 | January | Welverdiend | 3. UP | 2 | 8.85 | 816 | 581 | 401 | 8 | 10.4 | 23.9 | 4.7 | 1.1 |  |  |  | 69 | 0.925 | 87
HJVV_S135.3 | 2023 | January | Welverdiend | 3. UP | 3 | 8.87 | 817 | 579 | 396 | 8.1 | 9.98 | 23.9 | 5.7 | 1.3 |  |  |  | 99 | 0.956 | 77
HJVV_S136.1 | 2023 | January | Welverdiend | 4. DO | 1 | 7.7 | 901 | 639 | 443 | 6.6 | 3.07 | 24 | 9.7 | 2.2 |  |  |  | 53 | 0.837 | 92
HJVV_S136.2 | 2023 | January | Welverdiend | 4. DO | 2 | 7.71 | 903 | 638 | 433 | 6.7 | 2.42 | 24.1 | 4.4 | 1 |  |  |  | 51 | 0.885 | 95
HJVV_S136.3 | 2023 | January | Welverdiend | 4. DO | 3 | 7.69 | 899 | 631 | 456 | 6.6 | 2.49 | 24.1 | 5.4 | 1.2 |  |  |  | 45 | 0.864 | 91
HJVV_S153.1 | 2023 | February | Welverdiend | 1. IN | 1 | 7.63 | 1304 | 924 | 650 | 6.1 | 256 | 22.7 | 18 | 4.1 | 29 | 9 | 44 | 590 | 50.9
HJVV_S153.2 | 2023 | February | Welverdiend | 1. IN | 2 | 7.62 | 1303 | 927 | 651 | 6 | 267 | 22.6 | 12.9 | 2.9 | 27 | 8 | 38 | 558 | 53.4
HJVV_S153.3 | 2023 | February | Welverdiend | 1. IN | 3 | 7.64 | 1299 | 926 | 649 | 6.1 | 259 | 22.7 | 11.1 | 2.5 | 25 | 8 | 41 | 561 | 51.3
HJVV_S154.1 | 2023 | February | Welverdiend | 2. EF | 1 | 7.2 | 964 | 686 | 475 | 6.7 | 38.2 | 23.5 | 7 | 1.6 | 0.08 | 0.03 | 0.12 | 112 | 18.4
HJVV_S154.2 | 2023 | February | Welverdiend | 2. EF | 2 | 7.2 | 963 | 681 | 471 | 6.6 | 40.3 | 23.4 | 5.9 | 1.3 | 0.08 | 0.02 | 0.12 | 116 | 18.5
HJVV_S154.3 | 2023 | February | Welverdiend | 2. EF | 3 | 7.2 | 965 | 687 | 473 | 6.8 | 39.1 | 23.4 | 5.1 | 1.1 | 0.09 | 0.03 | 0.14 | 105 | 18.1
HJVV_S155.1 | 2023 | February | Welverdiend | 3. UP | 1 | 8.99 | 772 | 549 | 377 | 9.6 | 7.94 | 25.1 | 4.9 | 1.1 | 0.056 | 0.017 | 0.084 | 22 | 0.984
HJVV_S155.2 | 2023 | February | Welverdiend | 3. UP | 2 | 9.04 | 773 | 548 | 375 | 9.5 | 7.26 | 25 | 3.9 | 0.9 | 0.071 | 0.022 | 0.106 | 20 | 0.994
HJVV_S155.3 | 2023 | February | Welverdiend | 3. UP | 3 | 9.05 | 774 | 550 | 381 | 9.6 | 7.43 | 25.1 | 4.1 | 0.9 | 0.065 | 0.02 | 0.098 | 18 | 0.987
HJVV_S156.1 | 2023 | February | Welverdiend | 4. DO | 1 | 7.79 | 884 | 623 | 430 | 6.9 | 2.03 | 24.3 | 5.4 | 1.2 | 0.023 | 0.007 | 0.035 | 34 | 0.965
HJVV_S156.2 | 2023 | February | Welverdiend | 4. DO | 2 | 7.77 | 879 | 625 | 428 | 7 | 1.76 | 25.5 | 4 | 0.9 | 0.019 | 0.006 | 0.029 | 20 | 0.968
HJVV_S156.3 | 2023 | February | Welverdiend | 4. DO | 3 | 7.78 | 888 | 621 | 431 | 6.9 | 2.14 | 25.6 | 4.4 | 1 | 0.033 | 0.01 | 0.05 | 17 | 0.961
HJVV_S173.1 | 2023 | March | Welverdiend | 1. IN | 1 | 7.39 | 796 | 566 | 388 | 5.8 | 46.7 | 21.7 | 6.4 | 1.4 | 6 | 2 | 9 | 5664 | 18.4
HJVV_S173.2 | 2023 | March | Welverdiend | 1. IN | 2 | 7.4 | 801 | 565 | 387 | 5.7 | 43.9 | 21.8 | 4.9 | 1.1 | 4 | 1 | 6 | 5720 | 19.5
HJVV_S173.3 | 2023 | March | Welverdiend | 1. IN | 3 | 7.39 | 799 | 569 | 389 | 5.8 | 44.1 | 21.8 | 5.4 | 1.2 | 4 | 1 | 5 | 5658 | 17.8
HJVV_S174.1 | 2023 | March | Welverdiend | 2. EF | 1 | 7.25 | 1090 | 775 | 538 | 5.5 | 13.84 | 21.1 | 1.5 | 0.3 | 0.1 | 0.03 | 0.16 | 216 | 35.7
HJVV_S174.2 | 2023 | March | Welverdiend | 2. EF | 2 | 7.26 | 1091 | 770 | 540 | 5.4 | 15.71 | 21 | 1 | 0.2 | 0.15 | 0.05 | 0.2 | 199 | 36.7
HJVV_S174.3 | 2023 | March | Welverdiend | 2. EF | 3 | 7.25 | 1095 | 778 | 545 | 5.4 | 14.93 | 21.1 | 0.7 | 0.2 | 0.11 | 0.03 | 0.16 | 221 | 38.3
HJVV_S175.1 | 2023 | March | Welverdiend | 3. UP | 1 | 8.56 | 752 | 532 | 364 | 8.2 | 2.84 | 20.7 | 1.5 | 0.3 | 0.128 | 0.039 | 0.192 | 14 | 0.774
HJVV_S175.2 | 2023 | March | Welverdiend | 3. UP | 2 | 8.49 | 751 | 537 | 360 | 0.2 | 3.01 | 20.7 | 0.3 | 0.1 | 0.13 | 0.04 | 0.195 | 21 | 0.778
HJVV_S175.3 | 2023 | March | Welverdiend | 3. UP | 3 | 8.51 | 748 | 535 | 367 | 8.2 | 2.57 | 21 | 0.4 | 0.1 | 0.138 | 0.044 | 0.201 | 19 | 0.765
HJVV_S176.1 | 2023 | March | Welverdiend | 4. DO | 1 | 7.87 | 902 | 641 | 441 | 7.4 | 5.07 | 21.4 | 4.9 | 1.1 | 0.039 | 0.012 | 0.058 | 51 | 0.429
HJVV_S176.2 | 2023 | March | Welverdiend | 4. DO | 2 | 7.88 | 907 | 639 | 449 | 7.3 | 3.91 | 21.5 | 4.4 | 1 | 0.029 | 0.009 | 0.044 | 8 | 0.435
HJVV_S176.3 | 2023 | March | Welverdiend | 4. DO | 3 | 7.88 | 905 | 645 | 445 | 7.5 | 4.97 | 21.4 | 4 | 0.9 | 0.023 | 0.007 | 0.035 | 36 | 0.422
| 2023 | April | Welverdiend | 1. IN | 1
| 2023 | April | Welverdiend | 1. IN | 2
| 2023 | April | Welverdiend | 1. IN | 3
| 2023 | April | Welverdiend | 2. EF | 1
| 2023 | April | Welverdiend | 2. EF | 2
| 2023 | April | Welverdiend | 2. EF | 3
| 2023 | April | Welverdiend | 3. UP | 1
| 2023 | April | Welverdiend | 3. UP | 2
| 2023 | April | Welverdiend | 3. UP | 3
| 2023 | April | Welverdiend | 4. DO | 1
| 2023 | April | Welverdiend | 4. DO | 2
| 2023 | April | Welverdiend | 4. DO | 3
| 2023 | May | Welverdiend | 1. IN | 1
| 2023 | May | Welverdiend | 1. IN | 2
| 2023 | May | Welverdiend | 1. IN | 3
| 2023 | May | Welverdiend | 2. EF | 1
| 2023 | May | Welverdiend | 2. EF | 2
| 2023 | May | Welverdiend | 2. EF | 3
| 2023 | May | Welverdiend | 3. UP | 1
| 2023 | May | Welverdiend | 3. UP | 2
| 2023 | May | Welverdiend | 3. UP | 3
| 2023 | May | Welverdiend | 4. DO | 1
| 2023 | May | Welverdiend | 4. DO | 2
| 2023 | May | Welverdiend | 4. DO | 3
| 2023 | June | Welverdiend | 1. IN | 1
| 2023 | June | Welverdiend | 1. IN | 2
| 2023 | June | Welverdiend | 1. IN | 3
| 2023 | June | Welverdiend | 2. EF | 1
| 2023 | June | Welverdiend | 2. EF | 2
| 2023 | June | Welverdiend | 2. EF | 3
| 2023 | June | Welverdiend | 3. UP | 1
| 2023 | June | Welverdiend | 3. UP | 2
| 2023 | June | Welverdiend | 3. UP | 3
| 2023 | June | Welverdiend | 4. DO | 1
| 2023 | June | Welverdiend | 4. DO | 2
| 2023 | June | Welverdiend | 4. DO | 3